PAGE  
[image: image1.png]80-0015



[image: image2.png]


        

         Document Number:     Document Date:      Page
[image: image3.jpg]-




BD-T0036           May 2014       1/3

Microcentrifuge Tubes
I. APPLICATIONS

1. Cell centrifugation

2. Molecular biology

3. Sample storage

4. Centrifugation of precipitates

II. FEATURES

1. Materials: Strong, medical-grade polypropylene

2. Chemically resistant to alcohols and mild organic solvents

3. Transparent wall permits easy viewing of tube contents

4. Working temperature: stable from -20ºC to 121ºC (Autoclavable)

5. Tested to withstand centrifugation of 20,000 RCF in a fully supported rotor

6. Certified RNase & DNase Free

III. TUBE DESIGN

1. Conical bottom design fits most standard floor model and table-top centrifuges

2. Molded graduations in 0.5ml increments

3. Clearly visible with either clear or turbid samples

4. Available in 4 colors: clear, red, yellow, and blue

IV. CAP DESIGN
1. Attached cap

V. PACKAGING

1. Bulk packaged, 500 tubes/pack and 10 packs/case

VI. DESCRIPTION

	Item
	Volumn
	Tooth
	Color
	Packaging
	Sterile

	80-1500
	1.5ml
	No
	Clear
	Bulk, 500 tubes/pack, 10 packs/case
	No

	80-1501
	1.5ml
	No
	Red
	Bulk, 500 tubes/pack, 10 packs/case
	No

	80-1502
	1.5ml
	No
	Yellow
	Bulk, 500 tubes/pack, 10 packs/case
	No

	80-1503
	1.5ml
	No
	Blue
	Bulk, 500 tubes/pack, 10 packs/case
	No

	80-0500
	0.5ml
	Yes
	Clear
	Bulk, 500 tubes/pack, 10 packs/case
	No

	80-0015
	1.5ml
	No
	Clear
	Bulk, 500 tubes/pack, 10 packs/case
	No

	80-0020
	2.0ml
	Yes
	Clear
	Bulk, 500 tubes/pack, 10 packs/case
	No


　　       　　　　　　　                          

VII. STERILITY

1.N/A

VIII. CERTIFICATION

Biologix products are manufactured completely according to the TUV ISO 9001:2008 standard.
IX. RESTRICTIONS

Refer to the Chemical Resistance Chart in our catalog, and available within our online catalog. 

X. PRODUCT PARAMETER 

[image: image4.jpg]80-0500




Dimensions=mm

80-1500  Tube

A = O.D. 13.0

B = O.D. 10.8

C = 39.3

D = O.D. 9.0

E = 1.5

                                                                                        80-1500
[image: image5.jpg]BIOLGEGIX




80-0015  Tube

A = O.D. 13.0

B = O.D. 10.8

C = 39.3

D = O.D. 9.0

E = 1.5


80-0500  Tube

A = O.D. 9.5
B = O.D. 7.7
C = 30.4
D = O.D. 7.2
E = 4.4

F= 15.4

G = 31.7

80-0020  Tube

A = O.D. 11.9
B = O.D. 9.0
C = 40.6
D = O.D. 8.9
E = 5.2
F= 18.7
G = 41.8
                                             80-0020
�





�








Tel: +86-531-67802668        Fax: +86-531-67803768          www.BiologixGroup.com


